DELHI BUILDING BYE-LAWS, 1983

AND

BUILDING DEVELOPMENT CONTROL REGULATIONS

AS PER

MASTER PLAN FOR DELHI 2021

CONTENTS

| 1 | RECENT CHANGES IN DELHI BUILDING BYE LAWS | 1-3 |
| --- | --- | --- |

- Unified Building Bye-laws and Malhotra Committee					1

- Recent Developments vis-à-vis Building Bye-Laws and

MCD’s Sealing-cum-Demolition Drive in Delhi					3

| 2 | BUILDING BYE-LAWS, 1983 | 4-166 |
| --- | --- | --- |

PART I – ADMINISTRATION

1.	Short title, extent and commencement							4

2.	Definition										4

|  |  | Page |  |  | Page |
| --- | --- | --- | --- | --- | --- |
| 2.0 | General | 4 | 2.21 | Detached Building | 6 |
| 2.1 | Act | 4 | 2.22 | Drain | 6 |
| 2.2 | Air Conditioning | 4 | 2.23 | Drainage | 6 |
| 2.3 | Alteration | 4 | 2.24 | Enclosed Staircase | 6 |
| 2.4 | Approved | 4 | 2.25 | Existing Building or Use | 6 |
| 2.5 | Authority Having Jurisdiction | 4 | 2.26 | Exit | 6 |
| 2.6 | Automatic Sprinkler System | 5 | 2.27 | External Wall | 6 |
| 2.7 | Balcony | 5 | 2.28 | Fire Alarm System | 6 |
| 2.8 | Barsati | 5 | 2.29 | Fire Lift | 6 |
| 2.9 | Basement or Cellar | 5 | 2.30 | Fire Proof Door | 6 |
| 2.10 | Building | 5 | 2.31 | Fire Resisting Material | 6 |
| 2.11 | Building, Height of | 5 | 2.32 | Fire Separation | 6 |
| 2.12 | Building Line | 5 | 2.33 | Fire Service Inlets | 6 |
| 2.13 | Cabin | 5 | 2.34 | Fire Tower | 7 |
| 2.14 | Chhajja | 5 | 2.35 | Floor | 7 |
| 2.15 | Chimney | 5 | 2.36 | Floor Area Ratio (FAR) | 7 |
| 2.16 | Combustible Material | 5 | 2.37 | Footing | 7 |
| 2.17 | Conversion | 5 | 2.38 | Foundation | 7 |
| 2.18 | Courtyard | 5 | 2.39 | Gallery | 7 |
| 2.19 | Covered Area | 5 | 2.40 | Garage, Private | 7 |
| 2.20 | Damp Proof Course | 6 | 2.41 | Garage, Public | 7 |
|  |  | Page |  |  | Page |
| 2.42 | Habitable Room | 7 | 2.71 | Row Housing | 10 |
| 2.43 | Jhamp | 7 | 2.72 | Semi-Detached Building | 10 |
| 2.44 | Jhot | 7 | 2.73 | Service Road | 10 |
| 2.45 | Katra or Chawl | 7 | 2.74 | Set Back Line | 10 |
| 2.46 | Ledge or Tand | 7 | 2.75 | Site or Plot | 10 |
| 2.47 | Loft | 7 | 2.76 | Site, Corner | 10 |
| 2.48 | Mumti or Stair Cover | 7 | 2.77 | Site, Depth of | 10 |
| 2.49 | Masonry | 8 | 2.78 | Site, Double Frontage | 10 |
| 2.50 | Masonry Unit | 8 | 2.79 | Site, Interior or Tandem | 10 |
| 2.51 | Master Plan | 8 | 2.80 | Storage | 10 |
| 2.52 | Mezzanine Floor | 8 | 2.81 | Store Room | 10 |
| 2.53 | Non-combustible | 8 | 2.82 | Storey | 10 |
| 2.54 | Occupancy or Use Group | 8 | 2.83 | To Abut | 10 |
| 2.55 | Owner Space | 9 | 2.84 | To Erect | 10 |
| 2.56 | Owner | 9 | 2.85 | Travel Distance | 10 |
| 2.57 | Parapet | 9 | 2.86 | Unsafe Buildings | 11 |
| 2.58 | Parking Space | 9 | 2.87 | Water Closet (WC) | 11 |
| 2.59 | Partition | 9 | 2.88 | Width of Road | 11 |
| 2.60 | Party Wall | 9 | 2.89 | Window | 11 |
| 2.61 | Permanent Open Air Space | 9 | 2.90 | Non-Ambulatory Disabilities | 11 |
| 2.62 | Permit | 9 | 2.91 | Semi-Ambulatory Disabilities | 11 |
| 2.63 | Plinth | 10 | 2.92 | Hearing Disabilities | 11 |
| 2.64 | Plinth Area | 10 | 2.93 | Hearing Disabilities | 11 |
| 2.65 | Porch | 10 | 2.94 | Sight Disabilities | 11 |
| 2.66 | Licensed Architect/Engineers/ Group/Supervisors/Plumbers | 10 | 2.95 | Wheel Chair | 11 |
| 2.67 | Road/Street | 10 |  |  |  |
| 2.68 | Road/Street Level or Grade | 10 |  |  |  |
| 2.69 | Road/Street Line | 10 |  |  |  |
| 2.70 | Room Height | 10 |  |  |  |

3.	Applicability of the Bye-Laws								11

4.	Interpretation										11

5.	Building Permit  Required								12

6.	Procedure for Obtaining Building Permit							12

6.1	Notice										12

6.1.1	Copies of Plans and Statements						12

6.2	Information Accompanying Notice						12

6.2.1	Size of Drawing Sheets and Colouring of Plans				12

Table 1	: Drawing Sheet Sizes							12

Table 2 : Colouring of Plans							13

6.2.2	Key Plan and Approval of Site						14

6.2.3	Site Plan								14

6.2.4	Building Plan								14

6.2.5	Service Plan								16

6.2.6	Specifications								16

6.2.7	Supervision								16

6.2.8	Execution of Drainage/Sanitary Works					16

6.2.9	Document								16

6.3	Signing the Plans								16

6.4	Notice for Alteration Only							16

6.5	Building Permit Fees								17

6.6	Stacking Charges								18

6.6.1	Qualifications and Competence of Licenced Architect/			18

Engineer/Group Supervisor/Plumber

6.6.2	Penal Action against defaulting Architect/Engineers/Group		18

Supervisor/Plumber

6.7	Grant of Permit or Refusal							18

6.8	Duration of Sanction								19

6.9	Revocation of Permit								19

7.	Procedure During Construction Work							19

7.1	Responsibility for Carrying out the work in accordance with the			19

Bye-Laws

7.2.1	Notice for Commencement of Work					19

7.2.2	Notice for Covering up Underground Drain and Sanitary work		19

7.2.3	Notice of Completion of Drain, Sanitary and Water Supply Work		19

7.2.4	Approval/Refusal of Drain/Sanitary Works				19

7.2.5	Permission for Connection to the Public Sewer				20

7.3.1	Documents at Site							20

7.4	Deviations during Construction							20

7.5.1	Occupation of Building							20

7.5.2	Notice of Completion							20

7.6	Occupancy Certificate								20

8.	Inspection										21

9.	Unsafe Buildings									21

PART II – GENERAL BUILDING REQUIREMENTS

10.	Requirement of Site									21

10.1	Damp Sites									21

10.2	Distance from Electric Lines							21

10.3	Minimum Size of Site								21

11.	Means of Access									21

-  Relevant Extracts from Delhi Master Plan 2021 on Open Spaces, Area, FAR,		22

Dwelling Units and Height Limitations

- Relevant Extracts from Delhi Master Plan 2021 on Parking Space			36

13.	Parking Space										40

- Relevant Extracts of Delhi Master Plan 2021 on Parking Space				41

14.	Requirements of Parts of Buildings							46

14.1	Plinth				46	14.11	Roofs				49

14.2	Habitable Rooms		46	14.12	Basement			49

14.3	Kitchen				46		- Relevant Extracts from Delhi	50

14.4	Pantries			47		Master Plan 2021 on Basement

14.5	Bath Rooms and Water 		47	14.13	Chimneys			52

Closets					14.14	Lighting and Ventilation		52

14.6	Lofts				48		of Rooms

14.7	Ledge or Tand			48	14.15	Parapet				52

14.8	Mezzanine Floor		48	14.16	Wells				53

14.9	Store Room			48	14.17	Boundary Wall			53

14.10	Garage				48

15.	Provision of Lifts									53

16.	Exit Requirements									54

16.1	General										54

16.2	Types of Exits									54

16.3	Number and Size of Exits							54

16.3.1	Arrangement of Exits							54

16.3.2	Occupant Load								54

Table 5 : Occupant Load									55

16.3.3	Capacity of Exits							55

Table 6 : Occupants Per Unit Exit Width							55

16.4.1	Doorways								56

16.4.2	Revolving Doors							56

16.4.3	Stairways								57

16.4.4	Fire Escapes or External Stairs						58

16.4.5	Spiral Stairs (fire escape)						58

16.4.6	Ramps									58

16.4.7	Corridors								58

16.4.8	Refuge Area								59

16.4.9	Lifts									59

17.	Fire Protection Requirements								59

PART III – STRUCTURAL SAFETY AND SERVICES

18.	Structural Design									59

19.	Quality of Materials and Workmanship							59

20.	Alternative Materials, Methods of Design and Construction and Tests			59

21.	Building Services									60

22.	Plumbing Services									60

Table 7 : Per Capita Water Requirements for various occupancies/uses			61

Table 8 : Flushing Storage Capacities							61

Table 9 : Domestic Storage Capacities							62

Table 10 : Sanitation Requirement for Shops and Commercial Offices			62

Table 11 : Sanitary Requirements for Hotels						63

Table 12 : Sanitation Requirements for Educational Occupancy				64

Table 13 : Sanitation Requirements for Institutional (Medical) Occupancy	-Hospital	65

Table 14 : Sanitation Requirements for Institutional (Medical) Occupancy			66

(Staff Quarters and Hostels)

Table 15: Sanitation Requirements for Governmental and Public Business			66

Occupancies and Offices

Table 16: Sanitation Requirements for Residences					67

Table 17: Sanitation Requirements for Assembly Occupancy Buildings			68

(Cinema, Theatres, Auditoria etc.)

Table 18: Sanitation Requirements for Assembly Buildings (Art Galleries, Libraries	69

And Museums)

Table 19: Sanitation Requirements for Restaurants					70

Table 20: Sanitation Requirements for Factories						71

Table 21: Sanitary Requirements for Large Stations and Airports				72

23.	Conservation of Heritage Sites including Heritage Buildings, Heritage/Precincts		72

And Natural Feature Areas

23.1	Applicability									73

23.1.1	Definitions								73

23.2	Responsibility of the Owners of Heritage Buildings				73

23.3	Restrictions on Development/Re-development/Repairs etc.			73

23.4	Penalties									74

23.5	Preparation of List of Heritage Sites including Heritage Buildings,			74

Heritage Precincts and Listed Natural Feature Areas

23.6	Alteration/Modification/Relaxation in Development Norms			75

23.7	Heritage Precincts/Natural  Feature Areas					75

23.8	Road Widening									75

23.9	Incentive Uses for Heritage Buildings						75

23.10	Maintaining Skyline and Architectural Harmony					75

23.11	Restrictive Covenants								76

23.12	Grading of the Listed Buildings/Listed Precincts					76

23.15	Signs and Outdoor Display Structures including Street Furniture on		78

Heritage Sites

23.16	Composition of Heritage Conservation Committee				78

23.17	Implications of Listing as Heritage Buildings					79

23.18	Ownership not affected								79

SPECIAL REQUIREMENTS FOR OCCUPANCIES/LAND DEVELOPMENT AND OTHERS

24.	Industrial Buildings (Factories, Workshops etc.)						79

25.	Educational Buildings (Schools/Colleges)							80

26.	Assembly Buildings (Cinema, Theatres, etc.)						81

27.	Poultry Farms										81

28.	Rules for Development of Land								82

29.	Penal Action for Violation of Master/Zonal Plan Regulations Bye-Laws			82

30.	Facilities in the Public Building for the Disabled Persons					82

30.1	Scope										82

30.1.1	Site Planning								82

30.1.2	Access path/walk way							82

30.1.3	Parking									82

30.2	Building Requirements								82

30.2.1	Approach to Plinth Level						83

30.2.2	Corridor connecting the entrance/exit for the disabled			83

30.2.3	Stairways								83

30.2.4	Lifts									83

30.2.5	Toilets									83

30.2.6	Refuge									83

- Annexure-A	: List of Indian Standards/Guidelines for Hazard Safety			84

- Annexure-B: Certificate under Clause 6.2.9						84

- Annexure-C: Certificate under Clause 7.5.2						84

- Appendix A: Form I: Form for First Application to Erect, Re-erect or to		85			Make Material Alteration in any Place in a Building

- Appendix B: Form for Supervision-II							86

- Appendix A: Form II: Form for Specifications of Proposed Buildings			87

- Appendix B: For Supervision-I							88

- Appendix B: Form III: Form for Notice for Commencement of Work			89

- Appendix B-1: Information for Intimation of Completion of work up to Plinth level	90

- Appendix B-2: Inspection Report							91

- Appendix B-3: Certificate regarding Supervision/Completion cum Occupancy		92

Certificate

- Appendix C: Form C: For Inspection of Underground Drainage Sanitary &		94

Other Pipe Lines Before Covering the Lines

- Appendix D: Form D: Final Inspection of Sanitary Water Supply Work			95

- Appendix E: Form I: Sanction under Section 12 of the DD Act				96

- Appendix E: Form II: For Refusal of Sanction						98

- Appendix E: Form III: Form of Revalidation						99

- Appendix E: Form IV: Form of Deletion						100

- Appendix F: Form of Notice of Completion						101

- Appendix G: Form G: Form of Certificate of Licenses Architect/Engineer		102

Engineer/Supervisor/Group

- Appendix G: Form for Certificate of Licensed Architect/Engineer/Supervisor		103

Revised	Group

- Appendix H:Form I: Occupancy  Certificate						104

Form I (Revised): Completion-cum-Occupancy Certificate		105

- Appendix H: Form II: Form of Rejection or Compliance in Respect of

Occupancy Certificate							106

- Appendix J:  Relevant Extracts from MPD 2021 regarding Development 		108

Control Regulations

Relevant Extracts from MPD 2001 regarding Development		109

Control Regulations as amended upto date

Appendix K: Additional Fire Protection Requirements for Building more than 15m. in

Height & Buildings as covered by Bye-law No.6.2.4.1				141

K-1	General								141

K-2	Staircase Enclosures						141

K-3	Lift Enclosures							141

K-4	Basements							142

K-5	Service Ducts							142

K-6	Refuse Chutes and Refuse Chambers				142

K-7	Lifts and Fire Lifts						143

K-8	Building Services						143

K-9	Provision of First Aid Fire Fighting Appliances			145

K-10	Fixed Fire Fighting Installations					145

K-11	Fire Alarm System						147

K-12	Control Room							148

K-13	House Keeping							148

K-14	Fire Drills and Fire Orders					148

Appendix L:	Number and Type of Lifts for Different Occupancies and Spaces for	149

Electrical Installations

Table 22: Number and Type of Lifts for Non-Residential			149

Multi-storeyed Building

Table 23: Number and Type of Lifts for Residential Building		151

Table 24:Dimensions and Required Information for Lift Installation	152

In Building

Appendix M:	Affidavit/Undertaking for Non-Stacking					155

Appendix N	Indemnity Bond for Basement (for DDA)					156

Appendix N-1	Indemnity Bond for Basement (for MCD)				157

Appendix O	Form I: Affidavit under ULCRA for plots up to 500 sqm.			158

Appendix O	Form-II Affidavit under Urban Land (Ceiling and Regulation Act)		159

1976 for Non-Residential Buildings

Appendix O	Form-III: Indemnity Bond under ULCRA 1976				160

Appendix O	Form IV: Indemnity Bond for Non-Residential Building 			161

(under ULCRA 1976)

Appendix P	Qualification of Licensed Technical Personnel for preparation		162

Of Schemes for Building Permit and Supervision

Appendix Q	Penal Action for Violation of Provisions of Master Plan/Zonal Plan	164

Regulations/Bye-laws

| 3. | GENERAL BUILDING DEVELOPMENT CONTROL REGULATIONS (AS PER MPD 2021) | 167-174 |
| --- | --- | --- |

Text of Chapter 17 “Development Code” under MPD 2021					167

- Introduction									167

- Enforcement of the Code								167

- Title and Extent									167

- Definition										167

- Establishment of Use Zones and Use Premises					168

- Use Zones Designated								169

- Use Premises Designated								170

- Location and Boundaries for Use Zones						170

- Location and Boundaries of Use Premises						170

- Sub-division of Use Zones, Permission of Use Premises in Use Zones and		170

Control of Buildings

- Sub-division of Use Zones into Use Premises						170

- Permission of Use Premises in Use Zones						171

- Regulations for Building Controls within Use Premises				172

- Minimum Setbacks (other than Residential Plotted Development)			173

- Parking Standards									173

- Space Standards for Car Parking							174

- Basements										174

| 4 | BUILDING DEVELOPMENT CONTROL REGULATIONS FOR RESIDENTIAL USE ZONE (AS PER MPD 2021) | 175-183 |
| --- | --- | --- |

- Development Controls for Residential Use Zone					175

- Uses / Use Activities Permitted in Use Premises					176

- Control for Building/Buildings within Residential Premises				178

- Residential Plot – Plotted Housing							178

- Urban Development Minister’s Clarification on Fourth and Fifth Floors		181

- MCD seeks Amnesty Scheme for Fourth and Higher Floors				182

- Residential Plot – Group Housing							182

- Cluster Court Housing								182

- Foreign Mission									183

- Hostel/Guest House/Lodging & Building House/Dharamshala			183

- Night Shelter									183

- Farm House										183

| 5 | BUILDING DEVELOPMENT CONTROL REGULATIONS FOR COMMERCIAL USE ZONES (AS PER MPD 2021) | 184-193 |
| --- | --- | --- |

Pre 1962/MPD-1962 Commercial Areas							184

- Hotels										184

- Service Markets									184

- Norms for Service Markets & Organized Informal Bazars				185

- Informal Sector									185

- Development Controls – Commercial Centres					187

- Definitions and Activities Permitted in Use Premises					190

| 6 | BUILDING DEVELOPMENT CONTROLS REGULATIONS FOR WHOLESALE TRADE USE ZONES (AS PER MPD 2021) | 194 |
| --- | --- | --- |

- Development Controls – Wholesale Trade						    194

| 7 | BUILDING DEVELOPMENT CONTROLS REGULATIONS FOR INDUSTRY USE ZONE (AS PER MPD 2021) | 195-204 |
| --- | --- | --- |

- Classification of Industries								195

- Permissibility of Industrial Units in different Use Zones and Use Premises		195

- Parameters for Industrial Units in different  Use Zones and Use Premises		195

- Household/Service Industries							196

- No Industrial Activity Zone								196

- Development Control Norms							197

- Classification of Industries								199

| 8 | BUILDING DEVELOPMENT CONTROLS REGULATIONS FOR GOVERNMENT OFFICES (AS PER MPD 2021) | 205-206 |
| --- | --- | --- |

- Development Controls – Govt. Offices						205

| 9 | BUILDING DEVELOPMENT CONTROLS REGULATIONS FOR FUEL STATIONS (AS PER MPD 2021) | 207-208 |
| --- | --- | --- |

- Fuel Stations									207

- Fuel Stations in Urban Areas							207

- Norms for Fuel Stations								207

- Development Control Norms and Permissibility					207

- CNG Service Stations								208

| 10 | BUILDING DEVELOPMENT CONTROLS REGULATIONS FOR TRANSPORTATIO USE ZONES (AS PER MPD 2021) | 209-211 |
| --- | --- | --- |

- Development Controls for Transportation Use Zone					209

- Development Controls for Metro Stations						210

| 11 | BUILDING DEVELOPMENT CONTROLS REGULATIONS FOR HOSPITAL/ NURSING HOMES ETC. (AS PER MPD 2021) | 212-215 |
| --- | --- | --- |

- Development Controls for Health Facilities						212

- Definitions and Permissible Use Premises in Sub Use Zones – Health facilities		213

| 12 | BUILDING DEVELOPMENT CONTROLS REGULATIONS FOR SCHOOLS/ COLLEGES ETC. (AS PER MPD 2021) | 216-223 |
| --- | --- | --- |

- Policy Parameters									216

- Planning Norms and Standards for Education Facilities				216

- Development Controls for Education Facilities					217

- Planning Norms and Standards for Education Facilities (Higher Education)		218

- Development Controls for Education Facilities (Higher Education)			218

- Definitions and Permissible Use Premises in Sub Use Zones – Educational 		219

Facilities

| 13 | REGULATIONS FOR REDEVELOPMENT OF URBAN AREA (AS PER MPD 201) | 225-235 |
| --- | --- | --- |

- Redevelopment of Existing Urban Area						224

-	Redevelopment Strategy							224

*	Planned Areas								224

A	Influence Zone along MRTS and Major Transport Corridor		224

B	Re-densification of Low Density Areas					225

C	Redevelopment of other developed areas				225

*	Special Area								225

A	Shahjahanabad (Walled City)						226

B	Walled City Extension							226

C	Karol Bagh								227

*	Unplanned Areas							227

A	Slum and JJ Clusters, Resettlement Colonies and Unauthorized colonies	227

B	Villages									227

-	Guidelines for Redevelopment Schemes						288

*     Special Area Regulations								229

-	Restructuring and Up-gradation of the Existing Areas			230

*	Planned Areas								230

A	Plotted/Group Housing							230

B	Employer Housing							231

C	Bungalow Area								231

*	Traditional Inner City and Unplanned Areas				231

A	Special Area and Villages						231

B	Unauthorized/Regularized Unauthorized Colonies			232

- Housing for Urban Poor								232

| 14 | DDA PROCEDURE FOR BUILDING PERMIT | 236-261 |
| --- | --- | --- |

- Where to Apply									236

- How to Apply									236

- For Sanction/Addition/Alterations/Revised Plan of Residential Plot/			236

Other Buildings

- Additional Documents required for Sanction of Buildings/Layout Plan for		238

Group Housing Public & Semi-Public (PSP), Institutional, Commercial, Industrial

Schemes etc.

- Documents required for Sanction of Building/Layout Plan Subsequent to		239

Clearances from DUAC/CFO

- Revalidation of Plans								240

- For Sanction of Building Plan for Commercial/Industrial Building			240

- B-I Permit : Plinth Level								242

- Signing of Plans									242

- Fees and Charges									242

- Building Permit Fee									242

- Stacking Charges									242

- Peripheral Charges									243

- Betterment Charges								243

- Procedure for Processing Building Permit Application				244

- Validity Period of Building Permit							244

- Procedure During Construction of Building						245

- Procedure for Obtaining Form B-1							245

- Misuse of Building									245

- Miscellaneous									245

- Penal Action for Violation of Provision of Master Plan/Zonal Plan

Regulations/Bye-Laws								246

- Non-Compoundable Items								246

- Compundable Items								246

- Various Deviations in the Constructed Building which can be considered for		246

Regularization/Compounding							249

- Additional FAR Charges								249

- Betterment Levy/Additional FAR Charges						249

- EWS Fund										250

- Pre-Occupancy Charges								250

- General Information								250

- DDA’s Approval for Building Plan shall not be required				250

- Appendix 14.I :	Affidavit regarding Vacant Plot					251

- Appendix 14.II:	Undertaking under section 29(I) of D.D. Act, 1957		252

- Appendix 14.III	Certificate regarding Provisions of Water Harvesting		253

- Appendix 14.IV	Undertaking regarding Peripheral Charges			253

- Appendix 14.V	Affidavit/Undertaking						254

- Appendix 14.VI	Indemnity Bond							255

- Appendix 14.VII	Undertaking							256

- Appendix 14.VIII	Undertaking for Contribution of EWS Fund			257

- Appendix 14.IX	Undertaking							258

- Appendix 14.X :	Delhi Development Authority (Levy/Charges for			259

Residential Plotted Development? Regulations, 2006

1.	Short title and Commencement					259

2.	Definitions							259

3.	Application							259

4.	Betterment Levy/Additional FAR Charges and Penalty/		260

Compounding Charges/Special Compounding Charges

5.	Rate of Payment of Betterment Levy/Additional FAR		260

Charges and Penalty/Compounding Charges/Special

Compounding Charges

6.	Utilization							261

7.	Conditions for Regularization of Additional Construction		261

| 15 | DDA PROCEDURE FOR OBTAINING COMPLETION-CUM-OCCUPANCY CERTIFICATE | 262-270 |
| --- | --- | --- |

- Completion-cum-Occupancy Certificate						262

- Documents required for Completion-cum-Occupancy Certificate (for 		262

Residential Plotted Development)

Additional Documents for Public and Semi Public (PSP) (Institutional) Buildings	263

- Documents required for Provisional Occupancy Certificate (POC) for 			264

Cooperative Group Housing Societies, Govt. Departments, Govt. Institutions,

Charitable Trust and Wakf Board

- Documents required for Completion-cum-Occupancy Certificate for 			265

Cooperative Group Housing Societies, Govt. Departments, Govt. Institutions

Charitable Trust and Wakf Board

- Check List of Documents required for Occupancy Certificate/Regularization		266

Of Commercial/Industrial Buildings

- Procedure of Obtaining Completion-cum-Occupancy Certificate			267

Appendix 15.I	Certificate regarding Deviation					269

Appendix 15.II	External Finishing Certificate					270

| 16 | DDA GUIDELINES FOR RECOVERY OF COMPOSITION FEE FOR THE EXTENSION OF PERIOD FOR CONSTRUCTION | 271-277 |
| --- | --- | --- |

- Revised Maximum Period of Construction		271

- Simplified Rate for Calculation of Composition Fee for Delay in Construction

On Residential, Commercial, Institutional and Co-operative Group Housing

Societies Plots for the year 1995-96 to 1999-2000		271

- Composition Fee Rate								271

- Exemptions										273

- Old Lease										273

- Critical Date									273

- Non-Vacation Penalty on Industrial Plots						274

- Interest										274

- Demands Already Raised								274

- Issuance  of ‘D’ Form by the Architect						274

- Late Execution of Lease Deed Restoration						274

- Model Calculation									275

- Application for Grant of Extension of Time						275

- Clarifications regarding updation of Composition Fees by Charging Interest		275

@ 18% per annum

- Composition Charges for Belated Construction of Building over Residential		276

Industrial, Commercial and Institutional Plots

- Ascertainment of Date of Construction when ‘D’ Form/Occupancy Certificate	276

And Obtained/not Traceable

- Appendix 16.I	Request for Grant of Extension of Time for Construction		277

On the Plot on Payment of Composition Fees

| 17 | GUIDELINES ON ADDITIONS & ALTERATIONS IN DDA FLATS | 278-286 |
| --- | --- | --- |

- Building Permit a Must								278

- Addition(s) / Alteration(s) allowed in DDA Flats					278

-	Condonable Items								278

-	Additions/Alterations permitted with prior Intimation/Permission		279

-	Additional Coverage permitted with prior Permission				279

*     Procedure for Obtaining Permission							280

*    Building Plan Fee and Additional Floor Area Charges					281

*    Documents to be Submitted								281

*    Where to Apply for Sanction of Building Plans					281

*    Procedure for Processing Building Permit Application					282

*    Validity Period of Building Permit							282

*    Revocation of Building Permit							282

*    Procedure for Obtaining Completion Certificate					282

*    Where to Apply for Completion Certificate						282

*    Provision of Test Check								282

*  Appendix A-1: Form for Application for Proposed Addition/Alteration in

DDA Flats								283

- Appendix A-2: Form for Application for Regularization of Existing

Additions/Alterations in DDA Flat							284

- Appendix B:  For Supervision							285

- Appendix C:  Certificate for Safety from Natural Hazards				285

- Appendix D:  Indemnity Bond							286

| 18 | INSTRUCTIONS AND GUIDELINES FOR BUILDING PERMIT AND COMPLETION CERTIFICATE IN MCD | 287-317 |
| --- | --- | --- |

*	Building Permit & Completion Certificate a Must						287

*	Procedure for obtaining Building Permit							287

-	How to Apply?									287

-	Signing of Plans									289

-	Building Permit Fee & Stacking Charges						289

*	Where to Apply for Sanction of Building Plans						290

*	Facilities available for Sanction of Building Plans						291

*	Procedure for Processing Building Permit Application					292

-	Validity Period of Building Permit						293

-	Procedure for Obtaining Revalidation of Building Permit				293

-	Appeals against Rejection of Building Plans					294

-	Refund of Building Permit Fee							294

-	Revocation of Building Permit							294

-	Display of Sanctioned Building Plan at site					294

*	Procedure during Construction work							294

-	Intimation for taking up work at site						294

-	Intimation at Completion of Work up to Plinth Level				294

*	Procedure for Obtaining Completion Certificate						295

-	Notice of Completion								295

-	Where to Apply for Completion Certificate					296

-	Issue of Completion Certificate under ‘tatkal scheme’				296

-	Occupancy of Building without Obtaining Completion Certificate			298

*	Construction of Building without Sanction						298

*	Misuse of Building									298

*	Deviations from Sanctioned Plan							298

-	Non-Compoundable Items							298

-	Compoundable Items								298

*	Public Help Line										301

*	Miscellaneous										302

-	Compounding Deviation of Coverage of FAR to the extent of 13 sq.mtrs.		302

In Residential Plots

- Schedule of Market Rates of Land in Delhi/New Delhi				302

- Building Permits in City Area, Villages, Ministry of Rehabilitation Colonies		305

Unauthorized Regularized Colonies and Old Built Up Areas

- Policy for Sanction of Building Plans in City Area, Villages, Ministry of 		305

Rehabilitation Colonies, Schemes for Unauthorized Regularized Colonies

And Old Built Up Areas

:	Sanction of Building Plans in Walled City Area of Delhi (Construction,		307

Conservation, Addition and Alteration)

- Policy regarding Maintaining the Right of Way and Coverage to be allowed

On the Plot affected in the Road Widening						308

- Annexure A	: Structural Safety Certificate in respect of Plot No….

Block No…….. situated at…………………					309

*	Annexure B	: Water Harvesting Certificate in respect of Plot No……			309

Block No……. situated at………………..

*	Annexure C	: No Nuisance /Mulba Removal Certificate in respect of 			310

Plot No……… Block No….. situated at…….

*	Annexure D	: Schedule II								311

*	Annexure E	: Affidavit/Undertaking							312

*	Annexure E-1	: Affidavit/Undertaking							313

*	Annexure F	: Affidavit/Undertaking							314

*	Annexure G	: Affidavit-cum-Undertaking						315

*	Annexure H	: Affidavit-cum-Undertaking						316

| 19 | BASEMENT | 318-320 |
| --- | --- | --- |

- Master Plan (MPD 2021) Provisions regarding Basement					318

- Basement in Residential Buildings							318

- Basement in Other Buildings (as per Development Code)					318

- Basement in Health Facilities								319

- Basement in Education Facilities								319

- Basement in Education Facilities (Higher Education)					319

- Delhi Building Bye-Laws Provisions regarding Basement					319

- Basement in case of Building more than 15m in. height					320

- Prior Sanction Needed									320

- DDA Clarification regarding use of Basement for Services & Hotel Infrastructure		320

| 20 | PROCEDURE FOR CLEARANCE FROM DELHI URBAN ART COMMISSION | 321-331 |
| --- | --- | --- |

- Need for Delhi Urban Art Commission						321

- Governing Act									321

- Objectives of Urban Art Commission							321

- Responsibilities of Delhi Urban Art Commission					322

- Guidelines for Submission of Projects						322

- Outdoor Publicity : Sign Board Bill Board- Hoarding					324

- Guidelines regarding Hoarding							325

- Designs obtained through Architectural Competition					326

- Review & Evaluation								327

- Enforcement									327

- Landscape Plans of the Projects							327

- Appendix 20.I : Proforma of Planning Permission / Forwardal

to DUAC at Conceptual Stage 							328

- Appendix 20.II : Proforma to be Filled in by the Architect of the Project		330

| 21 | BUILDING CONSTRUCTION AROUND AIRPORT | 332-337 |
| --- | --- | --- |

- Appendix 21.I: Prohibited Area for Building Construction etc. Around Airport		333

- Appendix 21.II : Permitted Heights for Building Construction Around Airport		335

| 22 | FIRE SAFETY REGULATIONS AND CLEARANCES | 338-356 |
| --- | --- | --- |

- Fire Protection Requirements  as per Building Bye- Laws					338

- Delhi Fire Prevention and Safety Act, 1986						338

- Fire Safety Guidelines- Fire Prevention Wing						338

- Issur of No Objection Certificate								338

- Special Instructions for Schools and Restaurants						339

- Appendix 22.I	:  Text of Relevant Provisions of the , Delhi Fire Prevention

and Fire Safety Act, 1986.								340

- Appendix 22.II	: Text of Relevant Provisions of the Delhi Fire Prevention

and Fire Safety Rules, 1987 								344

- Appendix 22. III	: Questionnaire for High Rise Buildings /Other Buildings 			346

- Appendix 22.IV	: Fire Safety Guidelines for Schools					350

- Appendix 22.V	: Fire Safety Guidelines for Restaurants					354

| 23 | LOAD NORMS FOR ELECTRIFICATION IN DELHI | 357 |
| --- | --- | --- |

| 24 | NOISE POLLUTION RULES | 358-361 |
| --- | --- | --- |

- Authority for Maintenance of Ambient Air Quality Standards in respect of

Noise in Delhi										358

- Directions for Owners/ Users of Generator Sets						358

- Appendix 24.I	: The Noise Pollution (Regulation and Control) Rules, 2000		359

| 25 | GROUND WATER REGULATIONS AND ROOF TOP RAIN WATER HARVESTIN | 362-366 |
| --- | --- | --- |

- Central Ground Water Authority							362

- Action taken by Central Ground Water Authority since its Inception			362

- Areas Notified for Regulation of Ground Water Development and

Management vis-à-vis Nature of Regulation						363

- Ground Water Based Mineral/Drinking Water Industries					364

- Declaration of the “Yamuna Flood Plain Area” within the National Capital

Territory of Delhi as “Notified Area”							365

- Appendix 25.I: Application for Registration of Ground Water based Mineral/

Drinking Water Industries  								366

| 26 | THE DELHI MUNICIPAL CORPORATION (SEALING OF UNAUTHORISED CONSTRUCTION) RULES, 1986 | 367-368 |
| --- | --- | --- |

1. 	Short title and commencement								367

2. 	Definitions										367

3. 	Manner of sealing of unauthorized constructions					367

4. 	Tempering with seal of the premises or unauthorized construction			368

| 27 | THE DELHI DEVELOPMENT AUTHORITY (SEALIN OF DEVELOPMENT) RULES, 1986 | 369 |
| --- | --- | --- |

1. 	Short title and commencement								369

2. 	Definitions										369

3. 	Order of Sealing and its Service								369

4. 	Manner of Sealing Unauthorized Development						369

| 28 | THE DELHI LAWS (SPECIAL PROVISIONS) ACT, 2006 | 370-374 |
| --- | --- | --- |

1.	 Short title, extent and duration								370

2.	 Definitions										370

3. 	Enforcement to be kept in abeyance							371

4. 	The provisions of this Act not to apply in certain cases					372

5.	 Power of Central Government to give directions					372

. Text of Directions issued by the Ministry of Urban Development			372

. Text of Notification issued by M.U.D. withdrawing Exemptions				373

| 29 | REGULATIONS FOR MIXED USE OF BUILDINGS (AS PER MPD 2021) | 375-397 |
| --- | --- | --- |

- Mixed Use Regulations								375

- Governing Principles for Mixed Use							375

- Mixed Use in Residential Areas							375

- Identification of Mixed Use Areas in Existing Urban Areas and Urbanizable Areas	376

- General Terms and Conditions Government Mixed Use 				380

- Permissible and Non- permissible Uses						380

- Retail Shops									381

- Other Activity									382

- Professional Activity								384

- Registration of Mixed Use Premises and Payment of Charges				384

- Consultation with RWAs								385

- Conditions for Denial/ Withdrawal/ Restrictions of Mixed Use			385

- Commercial Streets and Areas							385

- Annexure I : List of Pre- 1962 Built Up Residential and Rehabilitation			387

Colonies

- Appendix 29.I	: Delhi Development Authority (Fixation of Charges for

Mixed Use and Commercial Use of Premises) Regulations, 2006				388

- Appendix 29.II	: Delhi Development Authority (Permission of Residential

Land and building for Use as Nursing Homes) Regulation, 2003				392

- Appendix 29.III	: Delhi Development Authority (Permission of Residential Land

and Building for Use as Guest Houses) Regulations, 2003					394

- Appendix 29.IV	: Delhi Development Authority (Permission of Residential Land

and Building for Use as Banks) Regulations, 2003					396

| 30 | INSTALLATION OF TEMPORARY STRUCTURE FOR CELLULAR MOBILE PHONE SERVICES ON ROOF-TOP OF BUILDINGS | 398 |
| --- | --- | --- |

- Permission for Installation of Temporary Structure for Cellular Mobile Phone

Services on Roof- top  of various premises falling in the Area under Jurisdiction

of Municipal Corporation of Delhi.							398

| 31 | SCHEME FOR GRANT OF TEMPORARY PERMISSION FOR COMMERCIAL USE IN INDUSTRIAL PLOTS | 399 |
| --- | --- | --- |

.  Use Conversion Charges for Grant of Temporary Commercial use in

Industrial Plots/ Units									399

. Charges for Change of Land use from Industrial to Commercial Applicable for

2001- 2002 and 2002-    03								399

| 32 | RELEVANT EXTRACTS FROM THE DELHI DEVELOPMENT ACT, 1957 | 400-409 |
| --- | --- | --- |

| 33 | RELEVANT EXTRACTS FROM THE DELHI MUNICIPAL CORPORATION ACT, 1957 | 410-419 |
| --- | --- | --- |

| 34 | RELEVANT EXTRACTS FROM THE NEW DELHI MUNICIPAL COUNCIL ACT, 1994 | 420-429 |
| --- | --- | --- |

| 35 | IMPORTANT NOTIFICATIONS, CIRCULARS, PUBLIC NOTICES AND PRESS RELEASES ON DELHI BUILDING BYE LAWS AND MASTER PLAN OF DELHI 2001 | 430-458 |
| --- | --- | --- |

- Notification No. K-12016/5/79-DD IIA/VA/IB dated 15th May, 1995 regarding

Enhanced FARs, Parking Standards, Basement etc. 					430

- Notification No. K-13011/14/96- DDIB dated 17th January, 1998 regarding Norms

for School for Handicapped								438

- Notification No. K-12016/5/79-DDIA/VA/IB dated 23rd July, 1998 regarding

Enhanced FARs, Basement and Farm Houses						438

- Notification No. K-20013/32/96-DDIB dated 1st September, 1998 regarding

Compressed Natural Gas (CNG) Station							441

- Notification No. K-12016/6/79-DDIA/VA/IB dated 25th September, 1998 regarding

Rate for Levy on Additional  FAR								441

- Public notice/ Press Release Issued by Municipal Corporation of Delhi extending

the Benefits of Relaxations in Building Norms						442

- Text of Public Notice issued by Municipal Corporation of Delhi regarding levy

@ Rs. 450/- per sqm. on the additional FAR						442

- Text of MCD Press Release dt. 27.11.1998 regarding Implementation of Relaxed

Building  Bye-laws									443

- Notification No. H-11017/7/91-DDIB dt. 7th May, 1999 regarding permissibility of

Nursing Homes, Guest Houses etc. in Residential Plots.					445

- Guidelines for allowing Mixed Land use namely Nursing Home, Guest Houses

and Banks in Residential Areas.								445

- Notification No. K-12016/5/79- DDIA/VA/IB (Pt.) dated 7th June, 2000 regarding

Enhanced FARs, Basement, Farm Houses etc.						446

- Notification No. K- 12016/5/79-DDIA/VA/IB (Pt.) dt. 7th August, 2000 regarding

Farm Houses										447

- Notification No. K-12016/5/79-DDA/A/VA/IB (Pt.) dt. 21st March, 2001 regarding

Safety Feature to provide in Building in respect of Natural Hazard by Earthquake.	447

- Notification No. J-13036/41/2000/DDI (Pt.) /IB dt. 24tj April, 2001 regarding

List of House hold Industries								449

- Notification No. N-11011/9/98-DDVI (Pt.) DDIB dt. 28th July, 2001 regarding  Rain

water Harvesting 									450

- Notification No. S.O. 1154 (E) dt. 21st November, 2001 regarding Junk Market

(Mayapuri Industrial Area)								453

- Notification No. O-33011/14-2001- DDIB dt. 22nd January , 2002 regarding

Stacking Charges									454

- Notification No. K- 13011/17/96- DDIB (Vol. II) dt. 6th March, 202 regarding Parking

Norms for Group Housing								454

- Circular No. F.7 (32) 98/B dt. 7th May, 2002 regarding Peripheral Service Charges

from Individual Plot Owner of Cooperative House Building Societies			455

- Notification No. K-12016/5//79/DDIA/VA/IB Vol. IX (Pt.) Dated 28th August, 2002

regarding Barrier Free Environment in the Public Building for Persons with Disabilities	456

| 36 | SUGGESTED READING MATERIAL | 459-462 |
| --- | --- | --- |

| 37 | SOURCE OF FURTHER INFORMATION | 463 |
| --- | --- | --- |